S

AUDI CDC

CHECKLIST

FOR

COVID

-

19

LABORATORY

TESTING

S

AUDI CDC

CHECKLIST

FOR

COVID

-

19

LABORATORY

TESTING

PHL-SCDC COVID-19 CHECKLIST

| # | REQUIERMENT | PHL-SCDC COMPLIANCE |
| --- | --- | --- |
|  |  | Yes | No |
| 1 | Negative pressure room with Adequate ventilation |  |  |
| 2 | Certified Class II Biological Safety Cabinet (BSC) |  |  |
| 3 | Positive pressure room with Adequate ventilation |  |  |
| 4 | Availability of PPE including respirators (NIOSH certified N95) |  |  |
| 5 | The seal/fitness test of disposable particulate respirator for Staff |  |  |
| 6 | Training of staff for donning and doffing |  |  |
| 7 | Physical security available 24/7 to cover all shifts |  |  |
| 8 | All analyzers must be maintained |  |  |
| 9 | All lab equipment must be calibrated |  |  |
|  | REPORTING OF RESULTS |  |  |
| 1 | Use MOH HESN program for result reporting. |  |  |
|  | SPECIMEN STORAGE AND WASTE MANAGEMENT |  |  |
| 1 | Specimen must be stored in an appropriate condition before and after testing in secured area |  |  |
| 2 | Autoclave must be available and maintained |  |  |
| 3 | Disinfectants solutions and biological spill kit must be available and efficient. |  |  |
|  | Laboratory Capacity |  |  |
| 1 | The laboratory has two Nucleic Acid extraction Systems |  |  |
| 2 | The laboratory has two Real-Time PCR Systems |  |  |
| 3 | The laboratory has at least 5 licensed Clinical Laboratory technologists with experience in the in molecular biology |  |  |
| 4 | The laboratory has at least one consultant Microbiologist with experience in molecular biology |  |  |